**MEMORANDUM**

To: Choctaw Generation Limited Partnership, LLLP – Red Hills Operation CCR Operating Record

From: Brian Ketchum (ECS) and Carla Brown (ECS)

Re: Notice of Constituents Detected at Statistically Significant Levels above Groundwater Protection Standards

Date: November 30, 2018

Choctaw Generation Limited Partnership, LLLP – Red Hills Operation (Red Hills), located in Ackerman, Mississippi, operates a single unit electrical generation facility designed to generate electricity for dispatch to the Tennessee Valley Authority (TVA) electrical system. Red Hills owns and operates an existing Ash Management Unit (AMU) required to meet the requirements for landfills under the Coal Combustion Residuals (CCR) Rule of 40 CFR 257, Subpart D.

Per the requirements of 40 CFR 257.95(g), Red Hills is providing notification that the following constituents have been detected at statistically significant levels (SSL) above their respective groundwater protection standards: Cobalt and Lithium. Red Hills will complete the notification requirement of 40 CFR 257.95(g) by placing this notice in the facility's operating record on or before December 1, 2018, within 30 days of establishing the groundwater protection standards, as required by 40 CFR 257.105(h)(8).